- ES-3* – Vertically mounted emergency shower with ABS plastic shower head (optional stainless steel shower head ”SSH”), polished stainless steel pull rod, steel stainless steel actuating arm and 1” IPS chrome plated brass stay-open ball valve.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2004, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1635 and G1635SSH