- EW-22* – Pedestal mounted, all stainless steel construction, corrosion resistant eye wash with stainless steel bowl, Schedule 40 stainless steel pipe and fittings, ½” U.S. made stainless steel stay open ball valve, stainless steel flag handle and floor flange.  Unit shall have (2) polypropylene ‘GS Plus’ spray heads with integral “flip-top” dust covers, filters and 1.8-GPM flow control orifices mounted on stainless steel head assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2004, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1894