- SS-16* - Combination eye/face wash and shower safety station.  Unit it constructed of polished chrome plated brass pipe and fittings.  1” IPS and ½” IPS U.S. made polished chrome plated brass stay open ball valves and polished stainless steel pull rod.  Unit shall have (4) polypropylene ‘GS Plus’ spray heads with integral “flip-top” dust covers, filters, and 1.8-GPM-GPM flow control orifices mounted on a chrome plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall meet or exceed ANSI Z358.1 – 2004, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1909PCC