- SS-32* - Corrosion resistant, all stainless steel construction, combination eye wash/shower safety station with stainless steel shower head, stainless steel bowl, stainless steel flag handle and floor flange, 1 ¼” IPS Schedule 40 stainless steel pipe and fittings, 1” IPS and ½” IPS U.S. made stainless steel stay open ball valves, and polished stainless steel pull rod.  Unit shall have (2) polypropylene ‘GS Plus’ spray heads with integral “flip-top” dust covers, filters, and 1.8-GPM flow control orifices mounted on a stainless steel head assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall meet or exceed ANSI Z358.1 – 2004, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1991