- ESBF-9*– Barrier-free, horizontally mounted emergency shower with stainless steel shower head, vertical supply pipe, fittings, escutcheon, guide plate, 1” IPS brass stay-open ball valve, and stainless steel actuating arm and 63 ½” long polished stainless pull rod.  Unit shall include ANSI compliant sign.

- Performance: Unit complies with ADA requirements for accessibility by handicapped persons. Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2004, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment GBF1658