- EFFR-11* – Wall mounted, freeze resistant eye/face wash with stainless steel bowl, ½” U.S. made self draining stay open three way brass ball valve, powder coated cast aluminum flag handle and wall bracket.  Valve handle is mounted on extension that projects through wall.  Unit shall have (4) polypropylene ‘GS Plus’ spray heads with integral “flip-top” dust covers, filters and 1.8-GPM flow control orifices mounted on a chrome plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be fully factory assembled and hydrostatically tested before delivery to meet or exceed ANSI Z358.1 – 2004, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment GFR1724